## Slide 1
The performance of OncoE6TM cervical test in detecting cervical
cancer lesions in HIV-positive women attending an HIV-clinic in
Bujumbura, Burundi.
Ndizeye Z1,2, Menon S2, Van Geertruyden JP2, Sauvaget C7, Jacquemyn Y2, Bogers J3,4,5,6, Benoy I4,5,6, Vanden Broeck D3,4,5
  Affiliations:
  Community medicine department, faculty of medicine, university of burundi, bujumbura, burundi
  Global health institute, faculty of medicine and health sciences, university of antwerp, antwerp, belgium
  International centre for reproductive health (ICRH), ghent university, ghent, belgium
  Laboratory of molecular pathology, AML sonic healthcare, antwerp, belgium
  National reference centre for HPV, brussels, belgium
  AMBIOR, laboratory for cell biology & histology, university of antwerp, antwerp, belgium
  Screening group, early detection and prevention section, international agency for research on cancer, lyon, france

## Slide 2
HPV infection
  Necessary etiologic agent for development of cervical cancer;
  Human Papillomavirus (HPV) is a common STI
Cervical cancer
  4th common cancer in women worldwide.
  Estimated 528 000 new cases and 266 000 deaths/year
  Huge disparities between rich countries and LMICs in Cxca control.
Background

## Slide 3
Currently available techniques for CC screening are :
  Cytology based (pap smear, LBC)
  Visual Inspection (VIA/VILI)
  HPV based (++ tests).
Background

## Slide 4
Since more 3 decades, developed countries successfully controlled CC through cytology based screening programmes.
But most of these programmes failed in LMICs due to a number of factors:
  Insufficient financial investment,
  Inadequate infrastructure,
  Insufficiently trained staff,
  The long lag time between sample collection, and availability of test results, leading to delays or losses in the management of lesions
Background

## Slide 5
Research has proven that HPV based techniques are more effective for CC screening compared to cytology and visual inspection.
Currently, Industrialized countries have adopted HPV-based screening or a combination of cytology with HPV-based screening algorithms
However, HPV based are hard to be implement in LMICs :
  infrastructure requirements,
  costs,
  Highly qualified staff
Background

## Slide 6
The WHO has recommended VIA/VILI as alternative for LMICs.
However, VIA/VILI has also several bottlenecks, including
  Frequent training and supervision
  Its subjective interpretation, resulting in varying accuracy in different settings.
  Evidence that increased inflammation among HIV-positive population affects the sensitivity and specificity of Visual Inspection :
Background

## Slide 7: Objective
Given effectiveness of HPV based, there are currently a number rapid and lower cost tests, thus making HPV based screening accessible for LMICs
To this end, we evaluated the clinical performance of OncoE6TM Cervical Test, to detecting CIN among HIV-infected women in Bujumbura, Burundi.

## Slide 8: METHODS
A cross-sectional study in HIV-clinic at the university hospital, roi khaled, in Bujumbura,
June to December 2017.
Participants: HIV-positive women.
Eligibility: age range between 25-65 years old, able to provide informed consent and declared having had vaginal intercourse during their lives.
Exclusion: Pregnancy, less than 6 weeks post-partum, have a history of hysterectomy or treatment for cervical cancer.

## Slide 9
All enrolled women underwent a physical examination of the pelvis.
Women with abnormal vaginal discharge, lower pelvic pain were given syndromic sexually transmitted infection (STI) treatments and asked to return two weeks after treatment
Women with menses were also asked to come back two weeks later.
During this clinical examination, specimens were collected in the following order: OncoE6 in dry tubes, LBC in thinprep vials (for both cytology and HPV-DNA testing) followed by VIA.
After sample collection, a standardized non-invasive colposcopy examination was performed on all participants.
Biopsies for histology confirmation were advised and performed as clinically indicated on consenting participants with evidence of colposcopic cervical abnormalities.
METHODS

## Slide 10: sample size and Statistical analysis
In order to have 80% power to prove that the sensitivity of the OncoE6TM cervical test is not inferior to that of a cytology screening test at a significance level of 0.05, we needed to include at least 674 HIV+ women.
Summary statistics were generated for basic socio-demographic and clinical information.
Clinical performance of OncoE6 to predict CIN1+, CIN2+ or CIN3+ diagnoses was evaluated by SE, SP, PPV and NPV, with their respective 95% confidence intervals (95% CI).
Values of SE, SP, PPV, and NPV between 0% - ≤40% were considered as poor, >40% and ≤60% as low, between >60% and ≤80% as moderate and more than 80% as high.

## Slide 11: RESULTS
 |  | Colposcopy diagnosis |  |  | 
 |  | Normal | Unsatisfactory colposcopy | Abnormal colposcopy | Total
Histopathological diagnosis | No biopsy taken | 630 | 27 | 5 | 662
 | Inconclusive Histopathology | 0 | - | 1 | 1
 | No CIN | 0 | - | 17 | 17
 | CIN1 | 0 | - | 14 | 14
 | CIN2 | 0 | - | 7 | 7
 | CIN3 | 0 | - | 7 | 7
 | ICC | 0 | - | 5 | 5
 | Total | 630 | 27 | 56 | 713
Distribution of participants by final composite “colposcopic- histological” diagnoses.

## Slide 12: RESULTS
Clinical performance of different screening tests at various disease diagnostic thresholds among HIV-infected women in Burundi

## Slide 13: CONCLUSIONS
OncoE6 test was proven to be a point-of care test in a pragmatic setting.
OncoE6 test may be an option to consider for cervical cancer screening in low and middle income countries.
VIA is an effective tool for cervical cancer screening of HIV-positive women in low and middle income countries.
Increasing the number of HPV-strains included in the available OncoE6 test may improve its sensitivity for primary screening
Clinical performance of OncoE6 cervical test may have been overestimated since participants with absence of visible lesions at colposcopy were not be biopsied for histology confirmation.

## Slide 14: acknowledgement
All study participants for their cooperation.
Dr Fulgence Yamuremye, Dr Déogratias Ntukamazina,
CPAMP team for their support during data collection and support to get in contact with study participants.